## Slide 1
Type | Built-in dbase | Built-in SqLite | MsSQL 2014 | MariaDB | Postgres | NULL | Ms Access
Standard sql (all queries allowed) | No1 | Yes | Yes | Yes | Yes | No | Yes
Write speed (images per s) | 370 | 170 | 610 | 135 | 610 | 1050 | 138*
Read speed setup/record (ms) | 12/0.1 | 68/0.33 | 28/0.084 | 8/0.067 | 77/0.067 | N/A | High*
Storage (106 images) | 1.5 GB | 0.7 GB | 0.77 GB | 0.39 GB | 0.7 GB | N/A | 8 GB
Limits | No | No | No | No | No | N/A | 250.000 images
Easy to setup | Very | Very | Slow install | Yes | Yes | N/A | ODBC required
Startup speed | Slow | Fast | Fast | Fast | Fast | N/A | Fast
OS | W/L | W/L | W | W/L | W/L | W/L | W
For very large databases | Slow startup | Slightly reduced speed | Resource hungry | Needs optimization | Not tested | N/A | Max 0.25 million images
Can servers share database?3 | No | Maybe | Yes* | Probably | Probably | N/A | No
Free | Yes | Yes | No2 | Yes | Yes | Yes | Yes